# Upset Testers

190

| MODEL | CAPACITY DIA. | SHEAR STRENGTH PSI @ | HEIGHT | WIDTH | DEPTH | WEIGHT APPROX. | RAM SPEED | POWER | STARTER |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VU1-D1528 | 1.00” | 60,000 | 71” | 48” | 30” | 1,800lbs. | 45”/min | 7.5 HP | Comb Magnetic |
| VU2-D1530 | 1.50” | 60,000 | 75” | 52” | 40” | 5,000lbs. | 90”/min | 40 HP | Comb Magnetic |
| VU3-D1531 | 2.00” | 60,000 | 93” | 72” | 66” | 10,500lbs. | 50”/min | 80 HP | Comb Magnetic |
| VU4-D1691 | 2.50” | 60,000 | 100” | 96” | 96” | 15,000lbs. | 50”/min | 120 HP | Comb Magnetic |
| VU5-D1673 | 3.00” | 60,000 | 104” | 117” | 113” | 25,000lbs. | 50”/min | 200 HP | Comb Magnetic |
| VU6-D1692 | 3.50” | 60,000 | 110” | 125” | 132” | 32,000lbs. | 50”/min | 250 HP | Comb Magnetic |

## Corporate Headquarters

Vale Industries Inc.

122 Simonds Ave.,

DeKalb, Illinois 60115-3992

Phone: (815) 756-2426

Fax: (815) 756-2735

E-mail: info@vale-industries.com

www.vale-industries.com

## International Division

Vale Industries Inc.

115 S. 4th Avenue.

St. Charles, Illinois 60174-2145

Phone: (630) 584-1900

Fax: (630) 584-2599

Tooling is light-weight and of unitized design for easy and fast change. Anvils are reversible, need for fewer resharpenings. Vale’s foolproof system for aligning dies eliminates improper operation.

## Famous Vale reliability

For longer component life, all Vale Upset Testers are rated to 5,000 PSI, yet operate at only 4,500 PSI.

Upper and lower upset plattens are made of hardened tool steel to ensure quality samples and long life. Both plattens are identical and interchangeable by means of locking collars.

Vale sets the standards for quick, accurate testing that stops scrap fast.

## Quick Results

Vale cycle times of less than 4 seconds to shear and 5 seconds to upset gives you the fastest quality control answers possible. This typical sample was sheared square and to a length 1.3 times the diameter. It was then upset to 40% of its original length for visual inspection. (Vale upset testers are also available for D.I.N. standard tests.) For greater quality control flexibility, you can vary the upset parameters with convenient hand knob adjustments.

Accurate, economical operation.

Accuracy is assured by precise controls that govern the length of the sheared samples and the amount of upset.